GUIDE

SPECIFICATION

Boyd Aluminum Manufacturing Company

P.O. Box 1565

3248 E. Division Street

Springfield, MO 65801-1565

800-737-2800

417-862-1232 fax

boydaluminum.com

FIXED SERIES 1200

AAMA/WDMA/CSA 101/I.S.2/A440-08

Rating:	CW-PG100

Air Infiltration: 	0.03 cfm/ft at 1.57 psf

Water Resistance: 	No Leakage at 15.00 psf

Structural Performance: 	150.00 psf

Thermal Break:	Yes

Main Frame Depth: 	2 3/8”

Glazing Thickness: 	1 1/2” -Maximum

Boyd Manufacturing Company has prepared this guide specification in printed and electronic media, as an aid to specifiers in preparing written construction documents for commercial fixed aluminum windows. For specification assistance on specific product applications, please contact our offices. Boyd Aluminum Manufacturing Company reserves the right to modify these specifications and details at any time.  Updates to these guide specifications and details will be posted to our web site and/or in printed matter as they occur. Boyd Aluminum Manufacturing Company makes no expressed or implied warranties regarding content, errors, or omissions in the information presented.

104-01-23

800-737-2800

boydaluminum.com

MASTERSPEC text, Copyright 1995, AIA, The American Institute of Architects

Paragraph number formatting method, Copyright 1988, ARCOM, Architectural Computer Services, Inc.

SECTION 08520 - ALUMINUM WINDOWS

THIS SECTION USES THE TERM ARCHITECT.  CHANGE THIS TERM AS NECESSARY TO MATCH THE ACTUAL TERM USED TO IDENTIFY THE DESIGN PROFESSIONAL AS DEFINED IN THE GENERAL AND SUPPLEMENTARY CONDITIONS.

PART 1 - GENERAL

1.1	RELATED SECTIONS

- Glass and glazing – Section 08800

B.        Sealants and caulking – Section 07900

1.2	SUMMARY

RETAIN ONE PARA BELOW.  MODIFY IF PROJECT REQUIRES MORE THAN ONE GRADE.

A.	Section includes:

SELECT WINDOW TYPES REQUIRED FOR PROJECT FROM LIST BELOW.  ADD WINDOW TYPES NOT LISTED, IF REQUIRED.  WINDOW TYPES BELOW ARE THOSE MOST COMMONLY USED.  LIST DOES NOT INCLUDE JALOUSIE WINDOWS AND OTHER TYPES AVAILABLE ONLY IN RESIDENTIAL GRADE OR SIDE-HINGED IN-SWINGING WINDOWS AND OTHER TYPES NOT COMMONLY MANUFACTURED.  WINDOW TYPES LISTED MAY NOT BE AVAILABLE IN ALL GRADES (E.G., TOP-HINGED AND VERTICALLY PIVOTED WINDOWS ARE NOT AVAILABLE IN RESIDENTIAL GRADE).  VERIFY AVAILABILITY WITH MFRS AND AAMA 101.

- Fixed Commercial Grade aluminum windows.

a.     Fixed windows.

1.3            REFERENCES

- American Architectural Manufacturers Association (AAMA).

- American Society for Testing Materials (ASTM)

- American National Standards Institute (ANSI)

1.4	TEST AND PERFORMANCE REQUIREMENTS

- Provide aluminum window system designed to accommodate expansion and contraction due to normal thermal movement and wind loading per manufacturer's window test reports.  Establish basic dimension of units, sight lines, and profiles of members according to the performance requirements.

- In order to designate quality of materials and workmanship required, these specifications are based upon products from Boyd Aluminum Manucturing Co., Inc.; Springfield, MO  (800)-737-2800.

- Products of other manufacturers equal to or exceeding those specified herein will be considered upon written authorization by the Architect.  Information, including window sample (size and configuration per Architect’s requirements), must be submitted for consideration a minimum of 10 days before project bid date.

- Test Criteria:  Testing shall be performed by an AAMA qualified independent testing agency and be  based on the following criteria:

1.     Current test reports must be submitted and be AAMA certified to be accepted.

ALWAYS RETAIN PARA BELOW.  AAMA 101 ESTABLISHES PERFORMANCE REQUIREMENTS AND SPECIFIES MINIMUM DESIGN PRESSURES FOR ALL WINDOW TYPES AND GRADES.  OPTIONAL HIGHER DESIGN PRESSURES ARE FOR USE ON HIGH-RISE BUILDINGS AND AREAS SUBJECT TO HIGH WIND VELOCITIES.  INSERT REQUIREMENTS FOR AAMA CERTIFICATION AND PRODUCT LABELING, IF DESIRED.

C.	Performance Requirements:  Test reports must show compliance with AAMA/WDMA/CSA 101/I.S.2/A440-08 for CW-PG100.

SELECT FROM SUBPARAS BELOW TO SUIT PROJECT REQUIREMENTS.  MAXIMUM PERMISSIBLE AIR-INFILTRATION RATE VARIES DEPENDING ON WINDOW TYPE AND GRADE.  IF PROJECT INCLUDES 2 OR MORE WINDOW TYPES OR GRADES, MODIFY 1 OR MORE SUBPARA AS APPROPRIATE.

RETAIN SUBPARA BELOW FOR USE WITH ALL OPERABLE RESIDENTIAL OR COMMERCIAL GRADE WINDOWS AND WITH HEAVY-COMMERCIAL GRADE DOUBLE-HUNG AND HORIZONTAL-SLIDING WINDOWS.

- Air-Infiltration:  Shall not exceed 0.03 cfm/ft of sash crack per ASTM E283 at a differential static pressure of 1.57 psf.

- Water Infiltration:   No uncontrolled leakage per ASTM E331 at a test pressure of 15.00 psf.

TEST PRESSURE IN SUBPARA BELOW IS AN EXAMPLE ONLY.  STRUCTURAL TEST PRESSURES VARY FROM 22.5 LBF/SQ. FT. (1077 Pa), THE MINIMUM FOR RESIDENTIAL GRADE WINDOWS.  DETERMINE THE CORRECT PROJECT DESIGN PRESSURE BY FOLLOWING PROCEDURES IN APPENDIX TO AAMA 101 AND REVISE SUBPARA BELOW TO SUIT PROJECT.  SEE EVALUATIONS FOR FURTHER DISCUSSION.

3.	Structural Requirements:   Maximum permanent deformation of any component shall not exceed 0.4 percent at a test pressure of 150.00 psf as defined per ASTM E330.

4.  	Forced-Entry Resistance: Comply with requirements when tested according to ASTM F 588, Type  D, Grade 40.

REVISE SUBPARA BELOW AS REQUIRED.  CONDENSATION RESISTANCE FACTOR (CRF) IS SUITABLE FOR MUCH OF THE U.S., AT 25 PERCENT RELATIVE HUMIDITY WHERE OUTDOOR DESIGN TEMPERATURE IS 0 DEG F (-18 deg C).  IN NORTHERN STATES WHERE THE WINTER OUTDOOR DESIGN TEMPERATURE IS BELOW 0 DEG F (-18 deg C), INCREASE THE FACTOR.  SEE AAMA 1503.1.

REVISE SUBPARA BELOW IF LOCAL CODE REQUIREMENTS ARE MORE RESTRICTIVE.  PERFORMANCE LEVEL INDICATED IS THE LOWEST INDICATED IN ASTM F 588.  REVISE PERFORMANCE LEVEL TO 20, 30, OR 40 TO SUIT LOCAL PROJECT SECURITY OBJECTIVES OR LOCAL CODE REQUIREMENTS.  SEE EVALUATIONS FOR FURTHER DISCUSSION.

1.5	SUBMITTALS

A.	General:   Submit in accordance with Division 1.

B.	Product Data:   Submit for windows.

EXPAND LIST BELOW, IF NECESSARY, TO INCLUDE DATA ON STC RATINGS, FORCED-ENTRY RESISTANCE, AND OTHER SPECIAL PROJECT REQUIREMENTS.

1.	Include information for factory finishes, glass, glazing components, accessories, and other required components.

2.	Submit certified test reports from AAMA accredited laboratories verifying all performance requirements specified herein.

GENERALLY RETAIN PARA BELOW.  DELETE ONLY FOR SMALL PROJECTS AND INDIVIDUAL WINDOW INSTALLATIONS IF MFR'S STANDARD DETAILS ARE SUFFICIENT.

C.	Shop Drawings:  Indicate elevations, detailed design, dimensions, member profiles, joint locations, arrangement of units, and member connections.

DELETE REQUIREMENTS BELOW IF NOT REQUIRED.

1.	Anchorage system.

2.	Interfacing  with building construction.

3.	Full-size details of special and typical shapes.

4.	Indicate glazing details and sealant requirements.

- Show finishes indicating compliance with the specification.

- Indicate recorded field measurements on final drawings as available.

- Samples:   Indicate quality of finish on alloys used, 12 inches long for extrusions and 6 inches square for

sheet materials.

- Where normal texture or color variations are expected, include additional samples illustrating

range of variation.

DELETE PARA BELOW FOR APPLICATIONS USING STANDARD UNITS WHERE THE SPECIFICATION IS PROPRIETARY AND THE QUALITY OF WORKMANSHIP IS KNOWN.

E.	Samples for Verification:  Submit samples of anchors, fasteners, hardware, assembled corner sections, and other materials and components if requested by the architect.

DELETE THE NEXT 2 PARAS BELOW WHEN WINDOW UNITS ARE TESTED IN SPECIFIED GLAZED CURTAIN WALL TESTS AS PART OF CURTAIN WALL ASSEMBLY.

RETAIN PARA BELOW IF MFR'S PRODUCT LITERATURE INDICATES WINDOW UNITS WERE TESTED ACCORDING TO SPECIFIED TESTS AND COMPLY WITH SPECIFIED PERFORMANCE REQUIREMENTS.

1.6	QUALITY ASSURANCE

DELETE PARA BELOW FOR SMALL OR SIMPLE PROJECTS.  RETAIN FOR LARGE OR COMPLEX PROJECTS WHERE QUALIFIED INSTALLERS ARE NEEDED FOR SUCCESSFUL INSTALLATION.

- Installer Qualifications:  Cerified in writing that installer has experience on at least five projects of similar nature in past five years.  The installer shall warrant the satisfactory performance of the window installation which includes, but is not limited to, installation accessories, (glazing, perimeter sealing,) and anchorage as called for by the specifications and approved shop drawings.

B.         Single Source Responsibility:   Provide window units manufactured by one manufacturer.

1.      Glass and glazing for window units are required as work of this section for single

source responsibility.  Factory glaze units.

DELETE BELOW IF NOT REQUIRED.  IF RETAINING, INDICATE LOCATION, SIZE, AND OTHER DETAILS OF MOCKUPS ON DRAWINGS OR BY INSERTS.  IF WINDOW MOCKUPS ARE PART OF ANOTHER MOCKUP, SUCH AS A WALL ASSEMBLY, CROSS-REFERENCE REQUIREMENTS IN OTHER SECTIONS.

RETAIN PARA BELOW FOR PROJECTS THAT PERMIT MFRS WITH PRODUCTS SIMILAR TO THOSE SPECIFIED TO COMPETE IN THE BIDDING PROCESS.  PARA PERMITS COMPETITION WITHOUT REQUIRING MFRS TO DEVELOP CUSTOM COMPONENTS AND ALSO ALLOWS ARCHITECTS TO BASE THEIR DESIGN ON ONE MFR'S PRODUCTS.

1.7	DELIVERY, STORAGE, AND HANDLING

RETAIN PARA BELOW UNLESS IT DOES NOT APPLY TO THE NORMAL SEQUENCE OF WORK.  THESE PROVISIONS ARE ALSO NOT APPLICABLE IF STOCK WINDOW SIZES ARE USED.

- Deliver units preglazed with manufacturer’s labels intact on interior side of glass.

- Protect glass and glazing to prevent chipping, cracking, and other similar damages.

- Store windows in upright position, off ground.

- Protect finished surfaces to prevent damage.

- Do not use adhesive papers or sprayed coatings which become firmly bonded when exposed to sun.

- Do not leave coating residue on surfaces.

- Protect the window units form lime, mortar, runoff from concrete and copper, careless handling of tools, weld splatter, acids, roofing tar, solvents, abrasive cleaners, and other items that could damage the window units.

1.8	WARRANTY

GENERALLY DELETE ENTIRE ARTICLE.  WARRANTIES ARE USUALLY INTENDED ONLY FOR EXTENSIVE CUSTOM-FABRICATED WORK OR LARGE, HIGH-QUALITY INSTALLATIONS WHERE INITIAL COST IS NOT A PRIME FACTOR.  WHEN WARRANTIES ARE REQUIRED, VERIFY WITH THE OWNER'S COUNSEL THAT SPECIAL WARRANTIES STATED IN THIS ARTICLE ARE NOT LESS THAN REMEDIES AVAILABLE TO THE OWNER UNDER PREVAILING LOCAL LAWS.  COORDINATE WITH DIVISION 1 SECTION "WARRANTIES."

A.	Warranty:   The window manufacturer shall provide a written warranty that window units are free from defective materials or workmanship within a specified  period.  Failures include the following:

1.	Material defect in manufacture.

IF WARRANTIES ARE REQUIRED, REVISE BELOW TO REFLECT THE DESIRED WARRANTY PERIOD.  SOME MFRS OFFER ONLY A ONE-YEAR PRODUCT WARRANTY.  OTHER MFRS OFFER A 5-YEAR WARRANTY ON METAL FINISHES AND GLASS FOR HEAVY-COMMERCIAL AND ARCHITECTURAL GRADE WINDOWS.

B.	Warranty Period:  2 year after delivery of product.

C.	   Warranty Period for Glass:  5 years after delivery of product.

PART 2 - PRODUCTS

2.1	MANUFACTURERS

- Acceptable Manufacturer:   Boyd Aluminum Manufacturing Co. Inc.; Springfield, MO  (800)-737-2800.

- Series 1200 Fixed Window

RETAIN ABOVE FOR NONPROPRIETARY OR BELOW FOR SEMIPROPRIETARY SPECIFICATION.  REFER TO DIVISION 1 SECTION "MATERIALS AND EQUIPMENT."

B.	Subject to compliance with Section 1.4, manufacturers offering equal products may be incorporated in the work.

DELETE WINDOW TYPES NOT REQUIRED FROM LISTS BELOW.  MFRS LISTED CONSTITUTE A SAMPLE ONLY, GENERALLY OF LARGER COMPANIES WITH NATIONAL DISTRIBUTION.  DELETE MFRS WHERE TYPES, PROFILES, PERFORMANCE, AND OTHER CONSIDERATIONS DO NOT SUIT PROJECT REQUIREMENTS.  INSERT OTHER MFRS WHO PRODUCE ACCEPTABLE PRODUCTS, IF DESIRED.  CONSIDER INSERTING MFR'S SPECIFIC PRODUCT NAMES AND MODEL NUMBERS FOR GREATER QUALITY CONTROL.  SEE EDITING INSTRUCTION NO. 1 IN THE EVALUATIONS FOR CAUTIONS ABOUT NAMING PRODUCTS AND MFRS.

2.2	MATERIALS

A.	Aluminum extrusions shall comply with ASTM B 221 and tolerances shall be in accordance with the Aluminum Association’s “Drafting Standards for Aluminum Extruded and Tubular Products”.  Extrusions shall not be less than a nominal 0.062 inch thick at any location for main frame with the exception of glazing stop which shall be no less than a nominal 0.050 inch.  Sheet shall comply with ASTM B 209, alloy and temper recommended by manufacturer appropriate for specified finish.

B.	Fasteners:  Provide stainless steel fasteners, corrosion resistant and compatible with aluminum.

RETAIN SUBPARA BELOW, EXCEPT FOR CHEAPEST WORKMANSHIP.

1.	Reinforcement:  When fasteners screw into aluminum less than a nominal 0.062 inch thick, utilize nuts or washers of design having means to reinforce interior aluminum surfaces and prevent disengagement.

GENERALLY RETAIN SUBPARA BELOW.  MODIFY IF EXPOSED FASTENERS ARE PERMITTED.

2.	Exposed Fasteners:    Provide concealed fasteners wherever possible.

PARA BELOW IS ADEQUATE FOR MOST PROJECTS; HOWEVER, STRUCTURAL CALCULATIONS MAY BE REQUIRED ON MAJOR PROJECTS.

C.	Shims:   Non-staining and non-ferrous type.

SLIDING-TYPE WEATHERSTRIPPING IS PRIMARILY FOR DOUBLE-HUNG OR HORIZONTAL-SLIDING WINDOW UNITS.  DELETE PARA BELOW IF THESE TYPES OF UNITS ARE NOT INCLUDED OR IF FULL WEATHERSTRIPPING IS NOT DESIRED.  DELETE ALUMINUM BACKING STRIP FOR LOWER COST.

D.	Glazing tape:   Blend of polyisobutylene and butylpolymer complying with AAMA 807.3-92

Sealants:   The color of the sealant exposed with the window in the closed position shall be chosen from the manufacturer’s standards.  If unspecified, the sealant color shall be compatible with the window framing materials.

- Non-working joints:  Sealant shall comply with AAMA 800.

- Window Components:  Sealant shall be suitable for application specified and approved by      the window manfacture.

3.   Perimeter:  Sealant shall comply with AAMA 800 and Section 07900.

- Compression-Type Gaskets:  Provide compressible TPE stripping for glazing and weatherstripping  complying with ASTM D 1921, ASTM D 792, ASTM D 2240, ASTM D 412, ASTM D 590, and ASTM D 3835 molded TPE gaskets.

RETAIN PARA BELOW WITH AWNING, CASEMENT, AND PROJECTED WINDOWS.  SPECIAL EGRESS-TYPE, 4-BAR FRICTION HINGES ARE AVAILABLE FOR CASEMENT WINDOWS WHERE WINDOWS ARE USED FOR EMERGENCY EGRESS.

2.3	ACCESSORIES

DELETE OPTIONAL OR ACCESSORY ITEMS IN THIS ARTICLE THAT ARE NOT REQUIRED.  COORDINATE ITEMS RETAINED WITH PROVISIONS IN "MATERIALS" ARTICLE.

- Muntins:   Provide muntins to replicate the desired divided lite configuration.  Muntins shall be of

extruded or roll-formed aluminum.  Muntins shall be rectangular or contour in shape, per  architect’s request.

- True divided lite muntins:   Provide an extruded aluminum muntin with a minimum nominal wall thickness of  0.125 inch.  Finish to match windows.

- Simulated Muntins:

- Roll Form Muntins:  Provide simulated muntins suspended within the insulated glass units.

- Applied Muntins:  Provide extruded tubular shaped aluminum muntins with a minimum wall thickness of .050 inch.  Applied muntins shall be mechanically fastened to a surrounding extruded tubular shaped aluminum applied muntin frame with a minimum wall thickness of 0.050 inch.  The applied muntin/frame system shall allow replacement of the glazing without removing or replacing applied muntins.  No exposed fasteners will be allowed.  Finish to match windows.

B.	Mullions:   Provide extruded aluminum mullions with a minimum nominal wall thickness of .062 inch and cover plates, where required, to complete window to window connections.

C.	Receptors:   Provide  two piece extruded aluminum receptors for the head and/or jambs of  the window openings with a minimum nominal wall thickness of 0.062 inch.  Provide one row of TPE gasket placed into extruded grooves in each receptor piece to ensure no window unit to receptor metal contact.  Finish receptors to match windows.

D.	Subsills:   Provide subsills with a minimum nominal wall thickness of 0.062 inch.  Provide subsills with means to weep water to the exterior.   Finish subsills to match windows.

E.	Panning:  Provide extruded aluminum panning of the type and configuration required by the architect with a minimum nominal wall thickness of 0.062 inch.  Provide one row of vinyl gasket placed into extruded grooves in each panning member to ensure no window unit to panning metal contact.  Provide stainless steel clips for the head and jamb panning members.  Clips shall be attached with stainless steel fasteners.  Space stainless steel clips appropriately to allow the window units to secure themselves tightly to the panning.  Window units shall lip over the panning sill member allowing water to weep to the exterior.  Finish panning to match window units.

F.	Trims:   Provide extruded aluminum trim of the type and configuration required by the architect with a minimum nominal wall thickness of .050 inch.  Provide extruded aluminum trim clips, with a minimum nominal wall thickness of .050 inch, to allow attachment of the trim to the window units and/or openings. Finish trim to match window units.

RETAIN PARA BELOW AFTER VERIFYING AVAILABILITY.  DOUBLE STRIPPING IS USUALLY FOR REVERSIBLE (VERTICALLY PIVOTED) WINDOWS.  COORDINATE WITH PROVISIONS IN "MATERIALS" ARTICLE.

2.4	FIXED WINDOWS

RETAIN PARA BELOW FOR HEAVY-COMMERCIAL GRADE HORIZONTAL-SLIDING WINDOWS.

A.	Window Grade and Class:   Comply with requirements of AAMA Grade and Performance for CW-PG100.

RETAIN PARA BELOW FOR HEAVY-COMMERCIAL GRADE, DUAL, HORIZONTAL-SLIDING WINDOWS.

RETAIN SUBPARA BELOW WITH ANY PARA ABOVE.

- Provide window units with a 2 3/8” minimum main frame depth.

- Provide 1 1/2”  maximum overall glazing thickness.  See Section 08800 glass and glazing.

B.	Glazing Gaskets:  Provide sliding type gaskets.

SELECT SASH ROLLER FROM BELOW.

- Provide TPE gaskets placed into extruded grooves in glazing stop.

a)        Provide one row of TPE gasket at all glazing stops.

C.      	Glazing:  To be glazed to main frame with perimeter polyisobutylene and butylpolymer blend glazing tape.  Foam tapes are not acceptable.

2.5	FABRICATION

A.	Fabricate components in accordance with manufacturer’s tested assemblies.  Remove burrs and ease edges.  Shop fabricate to greatest extent practicable to minimize field assembly.  Disassemble only to the extent necessary for shipping and handling limitations.

CONSTRUCTION BELOW IS STANDARD FOR MOST WINDOW TYPES.  MODIFY PARA TO SUIT PROJECT.

- Thermal Break:   Manufacturer’s standard integral urethane thermal barrier, located between exterior and interior members to provide thermal separation.  Provide thermal break that has been tested for thermal conductance and has been  in use a minimum of 5 years.

RETAIN SUBPARA BELOW IF HIGHER THERMAL PERFORMANCE IS DESIRED.  ONLY A FEW MFRS OFFER THIS TYPE OF HARDWARE.

DELETE SUBPARA BELOW IF GLAZING STOPS ARE NOT REQUIRED.

DELETE PARA BELOW IF PREGLAZING IS IMPRACTICAL.  IT MAY BE DIFFICULT TO HANDLE GLASS SIZES LARGER THAN 60 TO 100 UNITED INCHES (1500 to 2500 mm) WITHOUT DAMAGE.  OCCASIONALLY, ANCHORAGE SYSTEM WILL NOT PERMIT PREGLAZING.

INSERT GLAZING REQUIREMENTS NOT INCLUDED IN DIVISION 8 SECTION "GLAZING."

2.6	FINISHES

- Clear Anodized, Class I:  Etched, medium matte, clear anodic coating, 0.7 mil thickness.                        Meeting AAMA 611-98 and AA-M12C22A41.

- Color Anodized, Class I:  Etched, medium matte, colored anodic coating, 0.7 mil     thickness.AAMA 611-98 and AA-M12C22A44.

- Standard Color:  Color as selected by architect from window manufacturer’s full range of standard colors.

- Dark Bronze

- Custom Colors:   Color as selected by architect from window manufacturer’s full range of custom colors.

- Light Bronze

- Medium Bronze

- Black

RETAIN PARA BELOW AND DELETE REST OF ARTICLE ONLY IF ALL WINDOWS ON PROJECT ARE INCORPORATED INTO A CURTAIN WALL SYSTEM.

- Fluorocarbon, High Performance Paint Coating:  Color as selected  from manufacturer’s full range of colors by architect.  Fluorocarbon spray coating shall be applied by a licensed applicator and shall meet AAMA 2605-98 specifications.

- Fluorocarbon 2-Coat System:   Inhibitive primer and fluoropolymer color top coating of not less than 70 percent polyvinylidene fluoride complying with AAMA 2605-98.  Prepare and pretreat metal surfaces to comply with paint manufacturer’s instructions.

- Fluorocarbon 3-Coat System:  Inhibitive primer, fluoropolymer color coating, and clear fluoropolymer top coating complying with AAMA 2605-98.  Fluoropolymer color and clear coats shall not have less than 70 percent polyvinylidene fluoride.  Prepare and pretreat metal surfaces to comply with paint manufacturer’s instructions.

RETAIN FINISH SYSTEM BELOW APPLICABLE TO PROJECT.  IF RETAINING MORE THAN ONE, INDICATE LOCATION OF EACH ON DRAWINGS OR BY INSERTED DESCRIPTION.

RETAIN 1 OF 2 PARAS BELOW FOR CLEAR ANODIC FINISH.

- High Solids Paint Coating:   A high solids spray coating shall be applied by a licensed applicator and shall meet AAMA 2603-98 specifications.

- Standard Colors:  Color as selected by architect from window manufacturer’s full range of standard colors.  Prepare and pretreat metal surfaces to comply with paint manufacturer’s instructions.

- Custom Colors:   Color as selected by architect from paint manufacturer’s full range of colors.

Prepare and pretreat metal surfaces to comply with paint manufacturer’s instructions.

DELETE ABOVE OR BELOW.  VERIFY AVAILABILITY WITH MFRS SELECTED.

DELETE PARA AND SUBPARAS BELOW IF HIGH-PERFORMANCE COATING IS NOT REQUIRED.

TO ENSURE OBTAINING EXACT FINISH DESIRED, INSERT PRODUCT AND MFRS' NAMES OF COATING SYSTEM OR SYSTEMS.

PART 3 - EXECUTION

3.1	INSPECTION

- Remove and properly dispose of existing windows in accordance with Section 02070.  Verify that openings are dimensionally within allowable tolerances, plumb, level, and clean.  Provide solid anchoring surfaces that are in accordance with approved shop drawings.

- Verify that the opening into which the windows will be installed is the correct size to permit installation of the new windows according to the manufacturer’s installation instructions.

- Do not install windows until unsatisfactory conditions are corrected.

DELETE INAPPROPRIATE SUBPARAS BELOW.

3.2	INSTALLATION

DELETE PARA BELOW IF NO CURTAIN WALL WORK CONTAINS ALUMINUM WINDOW UNITS.

A.	Install windows with skilled tradesperson in exact accordance with approved shop drawings.

DELETE PARAS BELOW IF ALL WINDOW UNITS ARE INCLUDED IN GLAZED CURTAIN WALL WORK.

B.	Aluminum that is not organically coated shall be insulated from direct contact with steel, masonary concrete or noncompatible materials by bituminous paint, zinc chromate primer, or other suitable insulating material.

C.	Install vapor retardant tape between window perimeter and adjoining collateral materials and existing wall barriers to insure continuity.

- Plumb and align window faces in a single plane for each wall plane.  Erect square and true.  Anchor to maintain position when subjected to normal thermal and building movement (seismic forces), and specified wind loads.

- Install glass and glazing in accordance with approved shop drawings to provide satisfactory, leak-free installation.

- Perimeter Sealing:    Seal joints at the perimeters in accordance with approved shop drawings to provide watertight installation.

- Joints and surfaces to receive sealants shall be clean, free from loose material, free of efforescence

or mortar leaking, and dry.  Sealants shall not be applied when the temperature is below the    sealant manufacturer’s instructions.

- Clean the joints and surfaces before sealing or priming.  Then prime the joints in accordance with

the sealant manufacturer’s instructions.

- Provide joint backing in all joints where a suitable backer to receive sealant is otherwise not

available.  Joint depth shall be equal to ½ of the width.

- Caulk joint width shall not be less than ¼ inch nor more than ½ inch unless otherwise

recommended by the sealant manufacturer.  Wipe off the excess material and leave the exposed surfaces and joints clean and smooth.

DELETE SUBPARA BELOW IF NONE OF THESE ITEMS ARE TO BE INSTALLED AFTER WINDOW UNITS ARE INSTALLED.

3.3	ADJUSTING

A.	After installation, windows and glazing shall be inspected and adjusted to provide a weathertight window system.

3.4	CLEANING

DELETE THIS ARTICLE IF INSTALLATION OF WINDOW UNITS IS INCLUDED UNDER DIVISION 8 SECTION "GLAZED ALUMINUM CURTAIN WALLS."

- After installation, leave windows clean and free of temporary labels and dirt.  Protect finished             installation against damage.

DELETE PARA BELOW IF UNITS ARE NOT PREGLAZED.

B.         Final cleaning of the anodized finish shall be in accordance with AAMA 609.1.

C.         Final cleaning of the painted finish shall be in accordance with AAMA 610.1.

END  OF  SECTION  08520